Copyright 2013 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Dayton Superior ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Dayton Superior, 1125 Byers Rd., Miamisburg, OH 45342;  Phone: (800) 745-3700; Fax: (937) 865-9182; Website: www.DaytonSuperior.com; Email: lisaweaver@daytonsuperior.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 035416 - HYDRAULIC CEMENT UNDERLAYMENT

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes polymer-modified, self-leveling, hydraulic cement underlayment for application below interior floor coverings.

ALLOWANCES

Retain products and Work included in this Section that are covered by cash or quantity allowance. Do not include amounts. Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the allowance.

Provide hydraulic cement underlayment as part of [underlayment allowance] <Insert name of allowance>.

UNIT PRICES

Retain this article if Work specified in this Section is measured and paid for under the provisions of unit prices. Do not include amounts. Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the unit price.

Work of this Section is affected by [underlayment unit price] <Insert name of unit price>.

PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

If needed, insert list of conference participants not mentioned in Section 013100 "Project Management and Coordination."

ACTION SUBMITTALS

Product Data: For each type of product.

LEED Submittals:

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for priming and sealing coatings.

Product Data for Credit IEQ 4.2: For priming and sealing coatings, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

Laboratory Test Reports for Credit IEQ 4.2: For priming and sealing coatings, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Shop Drawings" Paragraph below if survey of existing conditions is required.

Shop Drawings: Include plans indicating substrates, locations, and average depths of underlayment based on survey of substrate conditions.

INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

Qualification Data: For Installer.

QUALITY ASSURANCE

Some manufacturers approve installers; others do not. Revise "Installer Qualifications" Paragraph below to suit products selected.

Installer Qualifications: Installer who is approved by manufacturer for application of underlayment products required for this Project.

FIELD CONDITIONS

Environmental Limitations: Comply with manufacturer's written instructions for substrate temperature, ventilation, ambient temperature and humidity, and other conditions affecting underlayment performance.

Place hydraulic cement underlayments only when ambient temperature and temperature of substrates are between 50 and 80 deg F (10 and 27 deg C).

PRODUCTS

Manufacturers and products listed in SpecAgent and Masterworks Paragraph Builder are neither recommended nor endorsed by the AIA or ARCOM. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain "Fire-Resistance Ratings" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

Fire-Resistance Ratings: Comply with ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

Retain "STC-Rated Assemblies" Paragraph below if hydraulic cement underlayment is part of STC-rated assemblies. Indicate design designations of specific assemblies on Drawings. The IBC requires a minimum STC of 50 (45 if field tested) for airborne sound transmission between adjacent dwelling units or between public areas and dwelling units.

STC-Rated Assemblies: For STC-rated assemblies, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 90 and classified according to ASTM E 413 by an independent testing agency.

Retain "IIC-Rated Assemblies" Paragraph below if hydraulic underlayment is part of impact insulation class- (IIC) rated assemblies. Indicate design designations of specific assemblies on Drawings. The IBC requires a minimum IIC of 50 (45 if field tested) for structure-borne sound transmission between adjacent dwelling units or between public areas and dwelling units.

IIC-Rated Assemblies: For IIC-rated assemblies, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 492 and classified according to ASTM E 989 by an independent testing agency.

HYDRAULIC CEMENT UNDERLAYMENTS

Minimum thickness indicated in "Underlayment" Paragraphs below indicates capability of material, generally over concrete. Required minimum thickness for application depends on substrate and type of floor covering to be applied. Wood substrates, for example, will require greater minimum thickness. In addition, numerous manufacturers make products with differing compressive strengths, cure times, and suitability for use with radiant flooring. Consult manufacturers.

Hydraulic Cement Underlayment: Polymer-modified, self-leveling, hydraulic cement product that can be applied in minimum uniform thickness of 1/8 inch (3 mm) and that can be feathered at edges to match adjacent floor elevations.

Basis-of-Design Product: Subject to compliance with requirements, provide Dayton Superior; Econolevel or a comparable product by one of the following:

ARDEX Americas.

BASF Construction Chemicals - Construction Systems.

MAPEI  Corporation.

<Insert manufacturer's name>.

Cement Binder: ASTM C 150/C 150M, portland cement, or hydraulic or blended hydraulic cement as defined by ASTM C 219.

Revise "Compressive Strength" Subparagraph below to suit Project; consult manufacturers. Products are available in a range of strengths.

Compressive Strength: Not less than 4100 psi (29 MPa) at 28 days when tested according to ASTM C 109/C 109M.

Retain "Aggregate for Extending Depth" Subparagraph below if addition of aggregate filler is required by manufacturer to achieve thickness indicated. Coordinate aggregate size with depth of underlayment.

Aggregate for Extending Depth: Well-graded, washed gravel, 1/4 to 3/8 inch (6 to 9.5 mm); or coarse sand as recommended by underlayment manufacturer.

Provide aggregate when recommended in writing by underlayment manufacturer for underlayment thickness required.

"High Compressive Strength Hydraulic Underlayment" Paragraph below specifies a product with higher performance characteristics, for use where excessive point loading or wheeled traffic is expected.

High Compressive Strength Cement Underlayment: Polymer-modified, self-leveling, hydraulic cement product that can be applied in minimum uniform thickness of 1/8 inch (3 mm) and that can be feathered at edges to match adjacent floor elevations.

Basis-of-Design Product: Subject to compliance with requirements, provide Dayton Superior; LeveLayer or a comparable product by one of the following:

Ardex Americas.

BASF Construction Chemicals - Building Systems.

MAPEI Americas.

<Insert manufacturer's name>.

Cement Binder: ASTM C 150/C 150M, Portland cement, or hydraulic or blended hydraulic cement as defined by ASTM C 219.

Revise "Compressive Strength" Subparagraph below to suit Project; consult manufacturers. Products are available in a range of strengths.

Compressive Strength: Not less than 5400 psi (34.5 MPa) at 28 days when tested according to ASTM C 109/C109M.

Retain "Aggregate for Extending Depth" Subparagraph below if addition of aggregate filler is required by manufacturer to achieve thickness indicated. Coordinate aggregate size with depth of underlayment.

Aggregate for Extending Depth: Well-graded, washed gravel, 1/4 to 3/8 inch (6 to 9.5 mm); or coarse sand as recommended by underlayment manufacturer.

Provide aggregate when recommended in writing by underlayment manufacturer for underlayment thickness required.

Water: Potable and at a temperature of not more than 70 deg F (21 deg C).

When applied over wood, some manufacturers recommend reinforcing their products; consult manufacturers. Retain "Reinforcement" Paragraph below if applicable.

Reinforcement: For underlayment applied to wood substrates, provide galvanized metal lath or other corrosion-resistant reinforcement recommended in writing by underlayment manufacturer.

Primer: Product of underlayment manufacturer recommended in writing for substrate, conditions, and application indicated.

Basis-of-Design Product: Subject to compliance with requirements, provide Dayton Superior; Level Primer J42/J42RTU or comparable product by one of the following:

<Insert manufacturer's name>.

Retain "VOC Content" Subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.2.

VOC Content: Provide primer with VOC content less than 50 g/L.

Retain "Low-Emitting Primer" Subparagraph below if required for LEED for Schools Credit IEQ 4.2.

Low-Emitting Primer: Primer shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Corrosion-Resistant Coating" Paragraph below for metal substrates. Some manufacturers do not recommend using their products over metal.

Corrosion-Resistant Coating: Recommended in writing by underlayment manufacturer for metal substrates.

Retain "VOC Content" Subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.2.

VOC Content: Provide coating with VOC content of 250 g/L.

Retain "Low-Emitting Coating" Subparagraph below if required for LEED for Schools Credit IEQ 4.2.

Low-Emitting Coating: Coating shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Surface Sealer" Paragraph if required. Confirm compatibility with floor coverings and floor covering adhesives specified in Division 09 Sections.

Surface Sealer: Designed to reduce porosity as recommended by manufacturer for type of floor covering to be applied to underlayment.

FINISH COAT UNDERLAYMENT

Trowel-applied, highly polymer-modified, cementitious coating intended for skim-coating or thin-layer finish coating over existing or new irregular, pitted, or scratched surfaces, to produce a smooth, even substrate for finish flooring.

Basis-of-Design Product: Subject to compliance with requirements, provide Dayton Superior; Sure Finish or a comparable product by one of the following:

Ardex Americas.

BASF Construction Chemicals - Building Systems

MAPEI Americas.

<Insert manufacturer's name>.

Compressive Strength: Not less than 4000 psi (27.6 MPa) at 28 days when tested according to ASTM C 109/C109M.

Coating Thickness: Feathering up to 1/2 inch (12/7 mm).

ACCESSORIES

Sound Mat:

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Allied Custom Gypsum Plasterworks, LLC.

Dura Undercushions Ltd.

Hacker Industries, Inc.

Keene Building Products.

Maxxon Corporation.

TEC; H.B. Fuller Construction Products Inc.

United States Gypsum Company.

<Insert manufacturer's name>.

Sound Reduction Board:

Manufacturers: Subject to compliance with requirements, provide products by the following:

United States Gypsum Company.

<Insert manufacturer's name>.

EXECUTION

EXAMINATION

Examine substrates, with Installer present, for conditions affecting performance of the Work.

Proceed with application only after unsatisfactory conditions have been corrected.

PREPARATION

General: Prepare and clean substrate according to manufacturer's written instructions.

Treat nonmoving substrate cracks according to manufacturer's written instructions to prevent cracks from telegraphing (reflecting) through underlayment.

Fill substrate voids to prevent underlayment from leaking.

If underlayments are installed over adhesive residues, consult manufacturers for recommendations and revise "Concrete Substrates" Paragraph below.

Concrete Substrates: Mechanically remove, according to manufacturer's written instructions, laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other contaminants that might impair underlayment bond.

Retain "Moisture Testing" Subparagraph below if required by manufacturer for underlayment placed on hardened concrete slabs.

Moisture Testing: Perform anhydrous calcium chloride test, ASTM F 1869. Proceed with installation only after substrates do not exceed a maximum moisture-vapor-emission rate of [3 lb of water/1000 sq. ft. (1.36 kg of water/100 sq. m)] <Insert value> in 24 hours.

Wood Substrates: Mechanically fasten loose boards and panels to eliminate substrate movement and squeaks. Sand to remove coatings that might impair underlayment bond and remove sanding dust.

Retain subparagraph below if applicable.

Install underlayment reinforcement recommended in writing by manufacturer.

Metal Substrates: Mechanically remove, according to manufacturer's written instructions, rust, foreign matter, and other contaminants that might impair underlayment bond. Apply corrosion-resistant coating compatible with underlayment if recommended in writing by underlayment manufacturer.

Nonporous Substrates: For ceramic tile, quarry tile, and terrazzo substrates, remove waxes, sealants, and other contaminants that might impair underlayment bond, and prepare surfaces according to manufacturer's written instructions.

Adhesion Tests: After substrate preparation, test substrate for adhesion with underlayment according to manufacturer's written instructions.

Retain "Sound Control (Mat) (and) (Board)" Paragraph below if sound control material is required.

Sound Control [Mat] [and] [Board]: Install sound control materials according to manufacturer's written instructions.

Do not install mechanical fasteners that penetrate through the sound control materials.

UNDERLAYMENT APPLICATION

Indicate underlayment thicknesses on Drawings or insert requirements in this article.

General: Mix and apply underlayment components according to manufacturer's written instructions.

Close areas to traffic during underlayment application and for time period after application recommended in writing by manufacturer.

Coordinate application of components to provide optimum adhesion to substrate and between coats.

Retain subparagraph below for moving joints in floor. Detail joints on Drawings and revise below to suit Project.

At substrate expansion, isolation, and other moving joints, allow joint of same width to continue through underlayment.

Apply primer over prepared substrate at manufacturer's recommended spreading rate.

Apply underlayment to produce uniform, level surface.

Feather edges to match adjacent floor elevations.

Retain subparagraph below if addition of aggregate is required for thickness indicated.

If course aggregate is used to increase thickness, apply a final layer without aggregate to product surface.

Cure underlayment according to manufacturer's written instructions. Prevent contamination during application and curing processes.

Do not install floor coverings over underlayment until after time period recommended in writing by underlayment manufacturer.

Retain first paragraph below if surface sealer is required in this Section.

Apply surface sealer at rate recommended by manufacturer.

Remove and replace underlayment areas that evidence lack of bond with substrate, including areas that emit a "hollow" sound when tapped.

FINISH COAT APPLICATION

Thoroughly clean substrate of dust, dirt, debris, and previous coatings.

Prime surface prior to skim coat application only if recommended by manufacturer.

Apply finish coat material by trowel per manufacturer's recommendations. Force material into cracks, voids, and defects.

Apply to thickness indicated or required to achieve final surface level. Apply in multiple lifts, if necessary, allowing drying/curing time between applications as directed.  Broom finish intermediate lifts to promote adhesion of subsequent lifts.

PROTECTION

Protect underlayment from concentrated and rolling loads for remainder of construction period.

END OF SECTION 035416